## Slide 1: Photo-Acoustic Spectroscopy with DFB Lasers
Principles and Techniques

## Slide 2: Acoustic Wave Equation
where p is the gas pressure and H(v,t) is the rate of heat generation per unit volume in the gas through absorption:
where I(n,t) is the intensity which is function of time with intensity modulation of the laser, C is the gas concentration, a(n) is the absorption coefficient and n is a function of time with laser wavelength modulation.

## Slide 3: Non-Resonant Solution for a Closed Photo-Acoustic Cell
Non-resonant solution of wave equation with laser power modulated at frequency wm:
where tth is the thermal damping time and DP is the amplitude of the laser power modulation.

## Slide 4: Acoustic Resonant Modes of Cells
where the resonant frequency is given by:
The spatial distribution of an acoustic mode is characterised by the integers (l, m, q):

## Slide 5: Approximate values of alm
 | m=0 | m=1 | m=2
l=0 | 0 | 0.59 | 0.97
l=1 | 1.22 | 1.70 | 2.13
l=2 | 2.23 | 2.72 | 3.17
alm is the lth value of (x/p) for which:

## Slide 6: Acoustic Modes Showing Direction of Acoustic Vibrations

## Slide 7: Excitation of Acoustic Modes with a Current-Modulated DFB Laser Source
The heat generation function, taking into account both the intensity and wavelength modulation from the DFB laser is:
where the harmonic components are given in terms of the Fourier coefficients as:

## Slide 8: Fourier Coefficient a0

## Slide 9: Fourier Coefficient a1

## Slide 10: Fourier Coefficient a2

## Slide 11: Phasor Components of 1st Harmonic

## Slide 12: Phasor Components of 2nd Harmonic

## Slide 13: Amplitude of Acoustic Modes Excited by the Harmonics of the Heat Generation Function
In general, the amplitude of the kth acoustic mode of the cavity excited by the nth harmonic of the modulation frequency is:
where Qk is the Q-factor for the kth mode and Dkn is the deviation of the nth harmonic from the kth resonant frequency:
Fk is the (dimensionless) spatial overlap of the optical intensity distribution with the acoustic mode distribution:

## Slide 14: Open-Ended Photo-Acoustic Resonator with Buffer Regions
Odd order (q=1, 3, 5,….) pure longitudinal modes may be excited in the open ended resonator with the following parameters:
Resonant frequency:
Overlap factor:
where:
lc

## Slide 15: Relative Amplitudes of Longitudinal Modes in Open-Ended Resonator
100mm length & 3mm radius resonator cell
If the modulation frequency for the DFB laser is set at the q=1 resonant frequency of the cell, then the typical acoustic signal amplitudes generated in the cell are:

## Slide 16: Azimuthal Acoustic Mode Excitation Using an Off-Axis Beam

## Slide 17: Radial Acoustic Mode Excitation
Typical amplitude of the radial mode generated with a 20mm radius, 100mm length acoustic cell at a 10kHz resonant frequency:

## Slide 18: Typical Magnitude of 1st Harmonic Signal for 100ppm CO2 (1572.3nm absorption line, half-linewidth of 2.5GHz)
Miniaturised photoacoustic cell: resonator length of ~10mm and radius of 1mm.
1st order longitudinal mode resonance at ~15kHz, microphone sensitivity 12.6mV/Pa.
DFB laser modulation frequency set to the resonance frequency.

## Slide 19: Typical Magnitude of 2nd Harmonic Signal for 100ppm CO2 (1572.3nm absorption line, half-linewidth of 2.5GHz)
Miniaturised photoacoustic cell: resonator length of ~10mm and radius of 1mm.
1st order longitudinal mode resonance at ~15kHz, microphone sensitivity 12.6mV/Pa.
DFB laser modulation frequency set to half the resonance frequency.

## Slide 20: Quartz-enhanced photoacoustic spectroscopy (beam focussed between prongs of tuning fork)
In QEPAS, the acoustic cell and microphone are replaced by a quartz tuning fork

## Slide 21: Quartz-enhanced photoacoustic spectroscopy (with micro-resonator tubes)
The QEPAS signal may be enhanced by the use of micro-resonator tubes

## Slide 22: Quartz-enhanced photoacoustic spectroscopy (micro-resonator tube with aperture)

## Slide 23: Summary & Conclusions
The excitation of acoustic modes in photoacoustic cells and the theoretical harmonic signals generated from gas absorption through modulation of DFB laser sources have been derived from first principles.
High sensitivity can be achieved with PAS by use of high optical powers in contrast to standard WMS which is limited by detector saturation.
Also, in contrast to standard WMS, PAS has a low first harmonic background level.
However, referencing and calibration present greater challenges with PAS compared with standard WMS.