## Slide 1: DFB Lasers for Near-IR Spectroscopy
Wavelength Tuning & Modulation Properties

## Slide 2: Buried Double Heterostructure (BDH) Laser Diode

## Slide 3: Multiple Quantum Well Laser Diode Separate Confinement Heterostructure

## Slide 4: Wavelength Modulation Spectroscopy
Contains fundamental and harmonics of the modulation frequency

## Slide 5: Light vs Intensity Curve of Laser Diode Current & Intensity Modulation
Slightly non-linear curve
im
Ib

## Slide 6: Electrical Characteristics of Laser Diode
For rs~5W, Cd ~1nF, then f <0.20 for f <100kHz

## Slide 7: Electrical Power Dissipated as Heat
With the forward current if consisting of a bias current Ib and a modulation current im:
for the forward voltage, vf
Using

## Slide 8: RC Model of Heat Flow in Laser Diode

## Slide 9: Relationship of Temperature Change to Change in Output Wavelength
where al and an are the thermal linear expansion and refractive index coefficients.
Typically:
A change in the laser temperature changes the physical length of the laser cavity or the grating period and also changes the refractive index. As a result, the output wavelength is changed according to:

## Slide 10: DC Thermal Tuning Characteristic

## Slide 11: Thermal Tuning Coefficient (RC Model)

## Slide 12: Thermal Phase Lag (RC Model)

## Slide 13: 1-D Solution of the Heat Conduction Equation

## Slide 14: Comparison of RC Model with 1-D Solution of Heat Conduction Equation

## Slide 15: Comparison of RC Model with 1-D Solution of Heat Conduction Equation

## Slide 16: Carrier Modulation & Tuning
When current modulation is applied to a laser diode, carrier density modulation results in modulation of the real part, nr, of the refractive index of the active region which in turn causes modulation of the frequency of the output light.
There are two principal contributions to the carrier tuning coefficient:
Spectral hole-burning or gain compression: independent of the modulation frequency, typically ~10–100MHz/mA, in phase with the current modulation.
Spatial hole-burning: arises from the distribution of the carrier density along the laser cavity affecting the round-trip phase and the feedback losses of the cavity.
Fractional frequency shift
Perturbation in carrier density

## Slide 17: Relative Phase of the Various Modulations

## Slide 18: Total Tuning Coefficient (Thermal + Carrier Contributions)

## Slide 19: Total Phase Lag (Thermal + Carrier)

## Slide 20: Fibre Ring Resonator for Measurement of Tuning Characteristics of DFB Lasers

## Slide 21: DC Wavelength Tuning from Linear Current Scan

## Slide 22: Measurement of the Magnitude and Phase of the Tuning Coefficient

## Slide 23: Summary & Conclusions
Frequency modulation in DFB lasers arises from both thermal and carrier tuning effects.
There is a phase shift between the intensity and the frequency modulation due to the thermal lag, which is dependent on modulation frequency.
Knowledge of the magnitude and phase of the tuning coefficient is important in understanding the harmonic signals that are generated with WMS