## Slide 1: Computational Imaging and Diffraction Tomography
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Anthony J. Devaney
Department of Electrical and Computer Engineering
Northeastern University
Boston, MA 02115
email: devaney@ece.neu.edu
Imaging: holographic microscope
Imaging 3D objects: tomography
X-ray tomography (CT)
Summary
Notes: <number>
This was a seminar presented at the Naval Postgraduate school in 2006. It reviews the elements of coherent imaging and linearized inverse scattering and diffraction tomography.

## Slide 2: Optical Microscopy
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Objective Lens
Condenser
Semi-transparent Object
Image
Illuminating light spatially coherent over small scale:
  Complicated non-linear relationship between sample and image
Poor image quality for 3D objects
  Need to thin slice
Cannot image phase only objects:
  Need to stain
  Need to use special phase contrast methods
Require high quality optics
Images generated by analog process
Remove all image forming optics and do it digitally
Notes: <number>

## Slide 3
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Analog and Computational Imaging
Analog Imaging
Computational
Imaging
Nature
Computer
Lens
Measurement plane
Thin sample
Image
Illuminating plane wave
Notes: <number>

## Slide 4: Computational Imaging
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Computational
Imaging
Computer
Measurement plane
Illuminating plane wave
Σ
Σ0
Σ
Undo Propagation
Propagation
Notes: <number>

## Slide 5: Back propagation/Time-reversal
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Σ
Σ0
Σ
Undo Propagation
Propagation
Back Propagation
Propagation can be performed exactly while back propagation
cannot be performed exactly (is an ill-posed problem)
Approximate back propagation easily and efficiently
performed using FFT algorithm
Notes: <number>

## Slide 6: FFT Based Algorithm
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Backpropagation requires high pass filtering and is unstable (not well posed)
propagating
evanescent
z
Σ
Σ0
Σ
Propagation
z
Σ
Σ0
Σ
Backpropagation
Notes: <number>

## Slide 7: Back propagation Algorithm
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Σ
Backpropagation
Σ0
Very fast and efficient using FFT algorithm
Need to know amplitude and phase of field
Plane wave
Notes: <number>

## Slide 8: Optical Microscopy
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Laser
polarizer
Spatial filter
lens
mirror
mirror
¼  plate
Beam splitter
CCD
sample
Beam splitter
Two holograms acquired which yield complex field over CCD
Back Propagate to obtain image of sample
1024X1024
10 bits/pixel
Pixel size=10 
Notes: <number>

## Slide 9: Retrieving the Complex Field
October 20, 2006
A.J. Devaney NPS Lecture
<number>
¼  plate
Notes: <number>

## Slide 10: Penyi and Capstone Team
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Notes: <number>

## Slide 11: Slit
October 20, 2006
A.J. Devaney NPS Lecture
<number>
0
50
100
150
(a)
Scattered intensity
200
400
600
100
200
300
400
500
600
700
200
400
600
800
(b)
Hologram 1
200
400
600
100
200
300
400
500
600
700
100
200
300
400
500
600
700
(c)
Hologram 2
200
400
600
100
200
300
400
500
600
700
Notes: <number>

## Slide 12: Reconstruction of slit
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Reconstructed intensity image from CDH
(a)
100
200
300
400
500
600
50
100
150
200
(b)
Reconstructed intensity image from PSDH
100
200
300
400
500
600
50
100
150
200
5
10
15
20
25
30
100
200
300
400
500
600
Notes: <number>

## Slide 13: Ronchi ruling (10 lines/mm)
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Scattered intensity
Hologram 1
Hologram 2
Notes: <number>

## Slide 14: Reconstruction of Ronchi ruling
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Notes: <number>

## Slide 15: Conventional Versus Back-Propagated
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Notes: <number>

## Slide 16: Phase grating
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Notes: <number>

## Slide 17: Reconstruction of phase grating
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Notes: <number>

## Slide 18: Salt-water specimen
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Notes: <number>

## Slide 19: Reconstruction of salt-water specimen
October 20, 2006
A.J. Devaney NPS Lecture
<number>
pixel size

x=1.675

m
Notes: <number>

## Slide 20: Biological samples: mouse embryo
October 20, 2006
A.J. Devaney NPS Lecture
<number>
0
100
200
300
400
500
600
(a)
Scattered intensity
50
100
150
200
250
50
100
150
200
250
200
400
600
800
(b)
Hologram 1
50
100
150
200
250
50
100
150
200
250
200
400
600
800
(c)
Hologram 2
50
100
150
200
250
50
100
150
200
250
Notes: <number>

## Slide 21: Reconstruction of mouse embryo
October 20, 2006
A.J. Devaney NPS Lecture
<number>
(a)
Intensity image by PSDH
20
40
60
80
100
120
20
40
60
80
100
120
2
4
6
8
10
12
(b)
Phase image by PSDH
20
40
60
80
100
120
20
40
60
80
100
120
0
0.5
1
1.5
2
(c)
Conventional optical microscope
50
100
150
200
Notes: <number>

## Slide 22: Cheek cell
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Notes: <number>

## Slide 23: Reconstruction of cheek cell
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Notes: <number>

## Slide 24: Onion cell
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Notes: <number>

## Slide 25: Imaging 3D Objects
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Good Image
Lens
Thin sample
Image
Lens
Thick sample
Image
Poor Image
Analog or digital lens
Notes: <number>

## Slide 26: Tomography
October 20, 2006
A.J. Devaney NPS Lecture
<number>
High Quality Image
Superimpose a set of images
taken at different “view angles”
Back projections in CT
Back propagations in DT
Notes: <number>

## Slide 27: Diffraction Tomography
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Computer
Illuminating plane waves
3D semi-transparent object
Object Reconstruction
Essentially combine multiple 3D coherent images generated for each scattering experiment
Back propagations
Notes: <number>

## Slide 28: Problems Addressed by Diffraction Tomography
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Geophysical
x
x
x
x
x
x
x
x
x
x
x
x
x
x
x
x
x
x
x
Medical
x
x
x
x
x
x
Industrial
Electromagnetic
Acoustic
Ultrasonic
Optical
x
x
x
x
x
x
Electromagnetic
Ultrasonic
Optical
Off-set VSP/ cross-well tomography
GPR surface imaging
induction imaging
Ultrasound tomography
optical microscopy
photon imaging
Ultrasound tomography
optical microscopy
induction imaging
Notes: <number>

## Slide 29
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Historical survey
X-ray crystallography
Fourier based
Born/Rytov inversion
Computed
tomography
Diffraction tomography
General Linear
Inversion
Distorted Wave
Approximations
Notes: <number>

## Slide 30: Computed Tomography (CT)
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Projection
Given a full set of projections can invert to recover the object
Notes: <number>

## Slide 31: Filtered Back Projection Algorithm
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Filter
Back Project
Data acquisition
projections
All FFT Based
Notes: <number>

## Slide 32: Test Object
October 20, 2006
A.J. Devaney NPS Lecture
<number>
P=phantom(N) generates a Shepp Logan Head Phantom
Notes: <number>

## Slide 33: Generating the Projections
October 20, 2006
A.J. Devaney NPS Lecture
<number>
R=radon(I,theta). Generates matrix with each column a different projection
Notes: <number>

## Slide 34: Reconstruction
October 20, 2006
A.J. Devaney NPS Lecture
<number>
I=iradon(R,theta)
36 projections equally spaced over 180 degrees
Notes: <number>

## Slide 35: Better Reconstruction
October 20, 2006
A.J. Devaney NPS Lecture
<number>
180 projections equally spaced over 180 degrees
I=iradon(R,theta)
Notes: <number>

## Slide 36: Ghost Objects
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Magic(4) =
Magic(4)-65=Ghost in two directions
65
65
65
65
65
65
65
65
Can generate Ghosts for any number of directions
Notes: <number>

## Slide 37: Ghost Objects and Airport Security
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Projection
Object=Object + Ghost
Notes: <number>

## Slide 38
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Filtered Back Propagation Algorithm
Filter
Back Propagate
Data acquisition
projections
All FFT Based
Notes: <number>

## Slide 39: Summary
October 20, 2006
A.J. Devaney NPS Lecture
<number>
Many application areas for computational imaging and tomography
Imaging and inversion algorithms basically all the same
Theory actually works
Commercial products possible
This area ideally suited for graduate students: combines theory + experiment
Notes: <number>