## Slide 1: Physics Based Imaging and Wave field Inversion
April 29, 2008
A.J. Devaney UW Lecture
<number>
Anthony J. Devaney
Department of Electrical and Computer Engineering
Northeastern University
Boston, MA 02115
email: devaney@ece.neu.edu
Imaging planar and 3D objects
Wave field tomography/Inverse scattering
Inverse surface scattering
Beyond Fourier
Notes: <number>
This was an invited talk presented in honor of Professor Ishimaru’s 80 birthday at the University of Washington in 2008. It is a very basic treatment of the material covered in Chapters 5 and 8 in the book.

## Slide 2: Fourier Analysis and Plane Wave Expansions
April 29, 2008
A.J. Devaney UW Lecture
<number>
Q(r)
Notes: <number>

## Slide 3: Homogeneous and Evanescent Plane Waves
April 29, 2008
A.J. Devaney UW Lecture
<number>
z
γ
k
θ
Propagating waves
Evanescent waves
Build up general wave forms via superposition
Notes: <number>

## Slide 4
April 29, 2008
A.J. Devaney UW Lecture
<number>
Propagation in Free Space
z
Σ
≡
Σ0
Notes: <number>

## Slide 5
April 29, 2008
A.J. Devaney UW Lecture
<number>
Propagation in Fourier Space
Free space propagation (z> 0) corresponds to low pass filtering of the field data
z
propagating
evanescent
propagating
evanescent
z
Σ
Σ0
Σ
Propagation
Notes: <number>

## Slide 6
April 29, 2008
A.J. Devaney UW Lecture
<number>
Undoing Propagation: Back propagation
Back propagation requires amplification and is unstable (not well posed)
propagating
evanescent
z
Σ
Σ0
Σ
Propagation
z
Σ
Σ0
Σ
Back propagation
Notes: <number>

## Slide 7
April 29, 2008
A.J. Devaney UW Lecture
<number>
Back propagation of Bandlimited Fields
z
Propagation
Backpropagation
Σ
Σ0
Propagation
Backpropagation
Notes: <number>

## Slide 8: Optical Microscopy
April 29, 2008
A.J. Devaney UW Lecture
<number>
Objective Lens
Condenser
Semi-transparent Object
Image
Illuminating light spatially coherent over small scale:
  Complicated non-linear relationship between sample and image
Poor image quality for 3D objects
  Need to thin slice
Cannot image phase only objects:
  Need to stain
  Need to use special phase contrast methods
Require high quality optics
Images generated by analog process
Remove all image forming optics and do it digitally
Notes: <number>

## Slide 9
April 29, 2008
A.J. Devaney UW Lecture
<number>
Analog and Computational Imaging
Analog Imaging
Computational
Imaging
Nature
Computer
Lens
Measurement plane
Thin sample
Image
Illuminating plane wave
Notes: <number>

## Slide 10
April 29, 2008
A.J. Devaney UW Lecture
<number>
Planar Computational Imaging
Σ
Backpropagation
Σ0
z
θ
a
Abbe’s theory of the microscope
Notes: <number>

## Slide 11: Digital Holographic Microscope
April 29, 2008
A.J. Devaney UW Lecture
<number>
Laser
polarizer
Spatial filter
lens
mirror
mirror
¼  plate
Beam splitter
CCD
sample
Beam splitter
Two holograms acquired which yield complex field over CCD
Back propagate to obtain image of sample
1024X1024
10 bits/pixel
Pixel size=10 
Notes: <number>

## Slide 12: Retrieving the Complex Field
April 29, 2008
A.J. Devaney UW Lecture
<number>
¼  plate
Notes: <number>

## Slide 13: Limited Numerical Aperture
April 29, 2008
A.J. Devaney UW Lecture
<number>
CCD
sample
Σ
Σ0
z
θ
a
Measurement plane
Sin θ=a/z<<1
Fuzzy Images
N.A.=.13
z=44 m.m.
a=6 m.m.
Notes: <number>

## Slide 14: Penyi and Capstone Team
April 29, 2008
A.J. Devaney UW Lecture
<number>
Notes: <number>

## Slide 15: 5 μm Slit
April 29, 2008
A.J. Devaney UW Lecture
<number>
0
50
100
150
(a)
Scattered intensity
200
400
600
100
200
300
400
500
600
700
200
400
600
800
(b)
Hologram 1
200
400
600
100
200
300
400
500
600
700
100
200
300
400
500
600
700
(c)
Hologram 2
200
400
600
100
200
300
400
500
600
700
Notes: <number>

## Slide 16: Reconstruction of slit
April 29, 2008
A.J. Devaney UW Lecture
<number>
Reconstructed intensity image from CDH
(a)
100
200
300
400
500
600
50
100
150
200
(b)
Reconstructed intensity image from PSDH
100
200
300
400
500
600
50
100
150
200
5
10
15
20
25
30
100
200
300
400
500
600
Notes: <number>

## Slide 17: Ronchi ruling (10 lines/mm)
April 29, 2008
A.J. Devaney UW Lecture
<number>
Scattered intensity
Hologram 1
Hologram 2
Notes: <number>

## Slide 18: Reconstruction of Ronchi ruling
April 29, 2008
A.J. Devaney UW Lecture
<number>
Notes: <number>

## Slide 19: Conventional Versus Backpropagated
April 29, 2008
A.J. Devaney UW Lecture
<number>
Notes: <number>

## Slide 20: Reconstruction of salt-water specimen
April 29, 2008
A.J. Devaney UW Lecture
<number>
pixel size

x=1.675

m
Notes: <number>

## Slide 21: Reconstruction of cheek cell
April 29, 2008
A.J. Devaney UW Lecture
<number>
Notes: <number>

## Slide 22: Onion cell
April 29, 2008
A.J. Devaney UW Lecture
<number>
Notes: <number>

## Slide 23
April 29, 2008
A.J. Devaney UW Lecture
<number>
Notes: <number>

## Slide 24: Imaging 3D Source
April 29, 2008
A.J. Devaney UW Lecture
<number>
Q(r)
Estimate Q from specification of its Fourier transform over a sphere of radius k
Notes: <number>

## Slide 25: Non-uniqueness and Non-radiating Sources
April 29, 2008
A.J. Devaney UW Lecture
<number>
k
Non-radiating sources
Notes: <number>

## Slide 26: Pseudo-inverse Solution
April 29, 2008
A.J. Devaney UW Lecture
<number>
Q(r)
s
Minimum L2 norm solution to the ISP
Radiation Pattern
Notes: <number>

## Slide 27: Inverse Random Source Problem
April 29, 2008
A.J. Devaney UW Lecture
<number>
Q(r)
s1
s2
Cross Correlate
Spatially incoherent source:
Notes: <number>

## Slide 28: Incoherent Source Inversion
April 29, 2008
A.J. Devaney UW Lecture
<number>
k
Notes: <number>

## Slide 29: Inverse Potential Scattering
April 29, 2008
A.J. Devaney UW Lecture
<number>
V(r)
s
Filtered Back Propagation Algorithm
Born Approximation:
Notes: <number>

## Slide 30: Filtered Backpropagation Algorithm
April 29, 2008
A.J. Devaney UW Lecture
<number>
Filtered
Scattered field
Filtered backpropagation
Demodulation followed by
sum over views
Reconstruction
Notes: <number>

## Slide 31: Thick Sample Optical Imaging System
April 29, 2008
A.J. Devaney UW Lecture
<number>
¼  plate
Thick sample of gimbaled mount
Many experiments performed with sample at various
orientations relative to the optical axis of the system
Notes: <number>

## Slide 32: Inverse Surface Scattering
April 29, 2008
A.J. Devaney UW Lecture
<number>
Σ
Dirichlet scatterer
Problem: Don’t know boundary value field
Use approximation
Be clever
Inverse Problem: Estimate the surface Σ from the scattering amplitude
Notes: <number>

## Slide 33: Physical Optics Approximation
April 29, 2008
A.J. Devaney UW Lecture
<number>
Lit region
Un-lit region
Convex surface
Back scatter data:
Notes: <number>

## Slide 34: Beyond Physical Optics
April 29, 2008
A.J. Devaney UW Lecture
<number>
Tangent plane
Homogeneous plane waves over 2π sr
Homogeneous plane waves over 4π sr
Evanescent plane waves
P.W. amp of scattered wavefield
P.W. amp of incident wavefield
Notes: <number>

## Slide 35: Inverse Surface Scattering
April 29, 2008
A.J. Devaney UW Lecture
<number>
ΣV
Dirichlet Object (perfect conductor)
Inversion algorithm: compute incident and scattered fields and use BC
Problem: Can’t compute evanescent portion of scattered field
Solution(s): Adhoc approximations, linear sampling theory
New approach: Select incident field so that scattered field ≈ 0
Notes: <number>

## Slide 36: Scattered Field
April 29, 2008
A.J. Devaney UW Lecture
<number>
Valid outside throughout any half-plane lying outside the scattering volume
Tangent plane
Evanescent plane waves
α
Re α
Im α
π/2
C+
π/2+i∞
Evanescent plane waves
Homogeneous plane waves
Decay exponentially with z
z
dΩs=sinα dα dβ
Homogeneous plane waves over 2π sr
Notes: <number>

## Slide 37: SVD of Scattering Amplitude
April 29, 2008
A.J. Devaney UW Lecture
<number>
Incident field singular vectors
Scattered field singular vectors
Notes: <number>

## Slide 38: Modal Fields
April 29, 2008
A.J. Devaney UW Lecture
<number>
Notes: <number>

## Slide 39: Non-Scattering Incident Fields
April 29, 2008
A.J. Devaney UW Lecture
<number>
Σ0
Select |Ap| to be small when σp is large
Total field approximately equal to incident field which must
then vanish over the surface of the scatterer
Notes: <number>

## Slide 40: New Approach
April 29, 2008
A.J. Devaney UW Lecture
<number>
ΣV
Notes: <number>

## Slide 41: Summary
April 29, 2008
A.J. Devaney UW Lecture
<number>
ΣV
Perform SVD
Compute Non-Scattering Incident Field
Apply Boundary Condition
Measure scattering amplitude
Notes: <number>

## Slide 42: Toy Example
April 29, 2008
A.J. Devaney UW Lecture
<number>
α0
α
s0
s
a
Notes: <number>

## Slide 43
April 29, 2008
A.J. Devaney UW Lecture
<number>
Notes: <number>

## Slide 44
April 29, 2008
A.J. Devaney UW Lecture
<number>
Notes: <number>

## Slide 45
April 29, 2008
A.J. Devaney UW Lecture
<number>
Beyond Fourier
Radiation Condition
Background potential

## Slide 46: Details
April 29, 2008
A.J. Devaney UW Lecture
<number>
Notes: <number>