## Slide 1: Wavelength Modulation Spectroscopy with DFB Lasers
Principles and Techniques

## Slide 2: Direct Absorption Spectroscopy (DAS)
Signal normalised to background level Pin

## Slide 3: Wavelength Modulation Spectroscopy
Contains fundamental and harmonics of the modulation frequency
from laser diode current modulation:

## Slide 4: Light vs Intensity Curve of Laser Diode Current & Intensity Modulation
Slightly non-linear curve
im
Ib

## Slide 5: Fundamental Relationships for WMS
Intensity modulation
Frequency modulation
Harmonics of frequency modulation
Beer-Lambert Law for small absorbance
Dimensionless line-shape function
Frequency modulation index

## Slide 6: Fourier Coefficient a0 (Effect of the Modulation Index)

## Slide 7: Fourier Coefficient a1 (Effect of the Modulation Index)

## Slide 8: Fourier Coefficient a2 (Effect of the Modulation Index)

## Slide 9: Components of the 1st Harmonic

## Slide 10: Magnitude of the 1st Harmonic

## Slide 11: Adjustment of Lock-in Phase (nulling the a1 component on the X-axis)
Uses intensity modulation for line-shape recovery with signal normalised to background (compare DAS).

## Slide 12: Measurements from both Lock-In Axes (for the recovery of the line-shape)
Problem (1): For low modulation index, this term approximates the line-shape function but deviates from it at high modulation index. Hence need for correction factors.
Problem (2): Small signal on large background level.
Same as last expression but larger signal due to the absence of the cosine term:

## Slide 13: Deviation of Measured Lineshape from Lorentzian with Increasing Modulation Index

## Slide 14: Deviation of Measured Lineshape from Gaussian with Increasing Modulation Index

## Slide 15: Optical Delay Line to Null the Background Intensity Modulation

## Slide 16: Hobbs Dual Beam Auto-Balancing Receiver Circuit for Nulling Background

## Slide 17: Components of the 2nd Harmonic

## Slide 18: Magnitude of the 2nd Harmonic

## Slide 19: Use of the 2f/1f Ratio for Line-Shape Recovery (effect of absorbance)

## Slide 20: Use of the 2f/1f Ratio for Line-Shape Recovery (effect of linewidth)

## Slide 21: Use of the first harmonic 1f/1fx ratio (effect of absorbance)

## Slide 22: Summary & Conclusions
The theoretical harmonic signals that arise with WMS have been derived from first principles.
The first harmonic signal may be used for the recovery of absorption line-shapes but it has a high background level and correction factors (along with background nulling) are necessary for high sensitivity.
Line-shape recovery can be accurately performed through measurement and simulation of the 2f/1f ratio (with good S/N ratio) provided the laser parameters are well-defined.